# HOT WORK PERMIT

Property / Building _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

The form overleaf must be completed prior to the carrying out of any HOT WORK on the premises.

The permit system applies to all operations involving flame, hot air, arch welding, cutting equipment, brazing / soldering / blowlamps, bitumen boilers etc.

Declaration to be made by operative:

- The location has been examined

- A competent person will/will not be standing by with an extinguisher / hose reel whilst the operation is in progress

- There are no combustible liquids, vapours or gases in the location that could present excessive risk

- The operative has had the nearest fire alarm / telephone pointed out to them, and has been told what to do in the event of a fire

- All combustible material has either been removed or suitably protected against heat and sparks

- Smoking is not allowed

ADDITIONAL RESTRICTIONS MAY BE APPLIED AT THE DISCRETION OF ANY PARTY LISTED BELOW.

Prior approval for HOT WORK MUST be granted by at least one of the following:

## The Building Custodian		The Building Manager		Occupational Safety 										Section

Work areas and all adjacent areas to which sparks and heat may spread must be thoroughly inspected upon completion of the works operations and again one (1) hour afterward, to check for hot spots and declare the area safe.

### HOT WORK PERMIT

Property / Building	_ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _

| Date & Times of Work | Hot Work Area and Type of Work | Operative(s) Approved | Area Examined for Risks Yes / No | Restrictions Applied | Approved by Print & Sign | Area Examined on completion & Declared Safe Signature / Time |
| --- | --- | --- | --- | --- | --- | --- |

MASTER COPY   -   Please photocopy as required.				Completed permits to be filed and retained.