Eterna Hearing Aids

Switching on/off

Volume control (if activated)                                    Selecting another programme I								(if activated)

Replacing the battery

Identifying the correct hearing aid for each ear

# Text boxes

Using the nail grip, open the battery compartment fully and remove the old battery.

Remove the protective foil from the new battery.

Insert the new battery with the ‘+’ sign (flat side of the battery) in line with the ‘+’ marked on the battery cover, and close it.